Content

- Scope

- Definitions and abbreviations

- Personnel pre-qualifications

3.1 Medical fitness

3.2 Education and training

- Procedure

4.1 Principle

4.2 Samples

4.3 Equipment and materials

4.4 Reagents and solutions

4.5 Detailed instructions

4.6 Reporting

4.7 Quality control

4.8 Waste management

- Related documents

Annex 1. Example of a warning sign

Annex 2. Incident report form

|  | Compiled by | Examined by | Approved by | Replaced | New version |
| --- | --- | --- | --- | --- | --- |
| Name |  |  |  | Code: | Code: |
| Date |  |  |  |  |  |
| Signature |  |  |  |  |  |
| Laboratory area: |  | No of copies: | Reason for change: |  |  |

- Scope

This SOP describes hygiene and safety measures for worker protection against laboratory-acquired tuberculosis in the event of an accidental spill of infectious material outside the biological safety cabinet (BSC). It refers to spillage of liquids consisting of suspensions of tubercle bacilli or broken tubes of cultures on solid media which generate infectious aerosols and represent a potential hazard for laboratory-acquired tuberculosis.

- Definitions and abbreviations

accident

An undesired event giving rise to death, ill-health, injury, damage, loss or distress.

incident

An event that gives rise to an accident or has the potential to lead to an accident.

good microbiological technique (GMT)

Working methods designed to eliminate or minimize exposure to pathogens via, for example, aerosols, splashes, ingestion, absorption, accidental inoculation.

BSC:	biological safety cabinet

BSL:	biosafety level

CDC: 	Centers for Disease Control and Prevention

CE:	European Community

FFP :   filtering facepiece particulate

HEPA:	high-efficiency particulate air

NA:	not applicable

NIOSH:National Institute for Occupational Safety and Health

- Personnel pre-qualifications

- Medical fitness

In accordance with national laws and practices, arrangements should be made for  appropriate health surveillance of TB laboratory workers:

- before enrolment in the TB laboratory;

- at regular intervals thereafter, annually or bi-annually;

- after any biohazard incident;

- at the onset of TB symptoms.

Ideally, individual medical records shall be kept for up to 10 years following the end of occupational exposure.

Laboratory workers should be educated about the symptoms of TB and provided with ready access to free medical care if symptoms arise.

Confidential HIV counselling and testing should be offered to laboratory workers. Options for reassignment of HIV-positive or immuno-suppressed individuals away from the high-risk areas of the TB laboratory should be considered.

All cases of disease or death identified in accordance with national laws and/or practice as resulting from occupational exposure to biological agents shall be notified to the competent authority.

- Education and training

Education and training must be given on the following topics:

- potential risks to health (symptoms of TB disease and transmission);

- precautions to be taken to minimize aerosol formation and prevent exposure;

- hygiene requirements;

- wearing and use of protective equipment and clothing;

- handling of potentially infectious materials;

- prevention of incidents and steps to be taken by workers in the case of incidents (biohazard incidents, chemical, electrical and fire hazards);

- laboratory design, including airflow conditions;

- good laboratory practice and good microbiological techniques;

- waste handling;

- organization of work flow.

The training shall be:

- given before a staff member takes up his/her post;

- strictly supervised;

- adapted to take account of new or changed conditions; and

- repeated periodically, preferably every year.

- Procedure

4.1 Principle

In case of a major biohazard accident outside the BSC, evacuation of the area must be the priority.

  - Samples

NA

4.3 Equipment and materials

Warning sign - DO NOT ENTER (see below, under “Related documents”)

Emergency spill-kit, stored outside the laboratory but close to the laboratory entrance, containing the following :

- FFP2 filtering facepiece particulate respirators (meet the requirements of European Standard EN149 and are CE-approved) or N95 filtering facepiece particulate respirators (meet the requirements of US Standard 42CFR84 and are CDC/NIOSH-approved), at least 10;

- head covers, two;

- protective glasses (goggles), two;

- overalls, single use, two;

- overshoes, at least 10 pairs;

- autoclavable plastic bags, 1000 x 700 mm, with biohazard sign, at least five;

- thick-walled household rubber gloves (to pick up shards and sharps), at least two pairs

- latex gloves, one package each of medium and large;

- forceps or tongs;

- container for sharps;

- absorbent paper tissue, at least 500 x 500 mm, about 1 kg

- concentrated disinfectant for dilution;

- bottle with spray head, 1-litre capacity;

- alcoholic disinfectant or equivalent, 1 litre (see SOP on use of disinfectants).

4.4 Reagents and solutions

Disinfectants (and procedures for their use) according to national guidelines (or see relevant SOP).

4.5 Detailed instructions

- The laboratory worker who caused or noticed the accident must alert all other persons present (in the vicinity of the emergency spill situation) and order them to evacuate the laboratory.

- Once outside the laboratory, preferably in the anteroom, ensure that all workers previously working in the area have now vacated the laboratory.

- Workers must remove protective clothing, specifically gowns that may have been splashed during the spill (and shoes in case of walking across the contaminated floor area).

- Workers need to wash whatever parts of their bodies have been splashed, with water and soap. Apply appropriate skin disinfectant on wounds, cuts and abrasions (see SOP on the use of disinfectants). Seek medical attention as necessary.

- Place the DO NOT ENTER warning sign on the door of the laboratory.

- Notify the laboratory supervisor of the accident, giving as much information as possible on the location, nature and extent of the accident, as well as any possible contamination of equipment.

- On the basis of this information, the head of the laboratory must decide how and when the decontamination will be carried out, and by whom. In biosafety level 3 laboratories, with rooms sealable for decontamination and air-ducting systems constructed to permit gaseous decontamination, fumigation the laboratory may be considered and must be carried out only by a certified professional.

- When fumigation of the room is not necessary, the laboratory supervisor must determine the minimum time necessary for infectious aerosols to be cleared from the laboratory, taking into consideration the number of changes of air per hour. The minimum time that must elapse before anyone re-enters the laboratory should be 2 hours.

- After the appropriate time, prepare to re-enter the laboratory to disinfect the contaminated area. Assemble a clean-up team of at least two persons. Put on protective clothing including gown, thick rubber gloves for protection against cuts from glass debris, overshoes, goggles and a single-use disposable FFP2/N95 or FFP3/N100 respirator. Re-enter the contaminated area and assess the extent of contamination.

- Spilled infectious substances and broken containers contaminated with infectious substances should be covered with absorbent tissue. Disinfectant should then be poured over. If walls have been splashed, disinfectant solution should be sprayed or poured onto the contaminated surfaces which are then covered with a layer of absorbent tissue.

- Allow adequate time for disinfection – a minimum of 2 hours.

- Once disinfection is completed, the waste can be discarded into suitable waste containers.  Sharp-containers should be used for glass debris and other sharps. Autoclavable bags are suitable for the other waste (single-use disposable respirator and overalls, overshoes, absorbent tissue, etc).

- Laboratory gowns are decontaminated using the standard procedure. The thick rubber gloves should be discarded if damaged; otherwise they can be disinfected. If splashed, goggles must be cleaned with disinfectant.

- If laboratory forms or other printed or written materials are contaminated, the information should be copied onto other forms and the originals discarded in the waste container.

- All contaminated equipment should also be wiped with a suitable disinfectant. Removable parts should be washed with water and dried. Electric equipment should be checked carefully (integrity of circuit-breakers and earth-fault-interrupters) before use.

- The clean-up team leaves the laboratory ensuring that all items of protective clothing, including respirators, have been removed. Once all contaminated material has been appropriately disposed of and the area adequately decontaminated, the DO NOT ENTER warning sign can be removed from the door (Annex 1).

4.6 Reporting

Every incident/accident must be documented and records must be kept in the laboratory supervisor’s archives (See Annex 2). All corrective action must be similarly documented.

The list of workers present in the laboratory when the incident occurred must be sent to the relevant medical service, together with documentation of the incident, for further medical surveillance.

4.7 Quality control

NA

4.8 Waste management

All materials used in the clean-up should be treated as infectious waste.

Contaminated-waste containers should be autoclaved. Those containing broken glass should be specifically labelled "CAUTION: GLASS DEBRIS" to prevent further risks of cuts and wounds.

- Related documents

Biosafety in microbiological and biomedical laboratories, 5th ed. Washington, DC, 2007. United States Department of Health and Human Services/Centers for Disease Control and Prevention/National Institutes of Health, 2007.

Collins C, Kennedy D. Laboratory acquired infections: history, incidence, causes and prevention, 4th ed. Oxford, Butterworth-Heinemann, 1999.

Health Canada. Laboratory biosafety manual, 2nd ed. Ottawa, Minister of Supply and Services Canada, 1996.

Health Services Advisory Committee. Safe working and the prevention of infection in clinical laboratories. London, HSE Books, 1991.

Laboratory biosafety manual, 3rd ed. Geneva, World Health Organization, 2004.

Manual of basic techniques for a health laboratory, 2nd ed. Geneva, World Health Organization, 2003.

Standards Australia/Standards New Zealand. Safety in laboratories - microbiological aspects and containment facilities. Sydney, Standards Australia International, 2002.

Annex 1. Example of a warning sign

WARNING DO NOT ENTER MAJOR BIOLOGICAL HAZARD

Annex 2. Incident report form

| Institution: |  |
| --- | --- |
| Laboratory designation: |  |
| Head of the laboratory: |  |
| Date, time of the incident: |  |
| Nature of the incident (what happened?) |  |
| Extent of the incident: - estimate of the volume of contaminated spill - details of the volume of broken glass (if any) - description of the surfaces contaminated - list of material/equipment contaminated (if any) - list of samples involved in the incident |  |
| List of persons present in the laboratory when the incident occurred |  |
| List of persons with physical injury (if any) Nature of physical injury |  |
| Name of the physician in charge of the first medical aid |  |
| Name of the physician in charge of the medical record and further medical surveillance |  |
| Corrective action: - how to prevent such an incident; - how to improves staff adherence to safety and emergency procedures |  |