## Slide 1
PROGRAMME MODULE 4 (PM4)
HOW TO PLAN AND IMPLEMENT A QUALITY ASSURANCE PROGRAMME

## Slide 2: MODULE CONTENTS
Essential activities of a quality assurance (QA) programme
The concept of continuous quality improvement (CQI)
Planning your QA programme
Implementing your QA programme
Monitoring your QA programme
© John Rae

## Slide 3: LEARNING OBJECTIVES
At the end of this module, you will be able to:
Understand essential activities of a QA programme
Understand the concept of CQI and how to apply it to TB diagnostic network strengthening
Understand important components to consider when planning, implementing and monitoring a QA programme
Conduct a situational analysis to determine the gaps in your QA programme
Develop an action plan for improving quality of diagnostic testing for your country

## Slide 4: WHAT ARE QUALITY DIAGNOSTICS?
Quality diagnostics are accurate, reliable and reported in a timely manner in order to be useful in a clinical or public health setting
Quality diagnostic services should ensure that the right test results are provided for the right patient, at the right time

## Slide 5: WHAT CONTRIBUTES TO POOR QUALITY DIAGNOSTICS?
Inadequate training and mentoring (laboratory and clinical staff)
Lack of, or poor adherence to, standard operating procedures (SOPs)
Stock-outs and use of expired reagents
Absent or inadequate maintenance of equipment

## Slide 6: WHAT CONTRIBUTES TO POOR QUALITY DIAGNOSTICS?
Poor quality of samples being tested
Poor communication between lab and clinical services
  Ordering inappropriate tests, diagnostic delay, inaccurate interpretation of results
Lack of regular on-site supervision
Lack of monitoring and evaluation (M&E) of the diagnostic network

## Slide 7: WHAT ARE THE IMPLICATIONS OF POOR QUALITY DIAGNOSTIC RESULTS?
Poor quality results may be inaccurate, inappropriate or delayed
Consequences can be very significant:
  Unnecessary treatment
  Treatment complications
  Failure to provide the proper treatment
  Delay in correct diagnosis
  Unnecessary diagnostic testing
This may result in increased cost in time and personnel effort and adverse patient outcomes

## Slide 8: A QA PROGRAMME
  A QA programme is developed and implemented at central level by the Ministry of Health (MOH), National TB Programme (NTP) or National TB Reference Laboratory (NTRL)
  A QA programme provides general guidance and tools for standardized QA activities, as well as supervision of the QA activities and monitoring of the adherence to the procedures at the testing site level

## Slide 9: QA: CENTRAL & TESTING SITE LINKAGE
Data collected at the testing site level are reviewed regionally and centrally to inform and update policies at the central level
The central level provides supervision & guidance as testing sites implement QA

## Slide 10: ESSENTIAL QA CENTRAL LEVEL ACTIVITIES
Coordinate onsite supervisory visits
Standardize policies & documentation
Maintain & service equipment
Conduct
training
Implement proficiency testing
Strengthen the supply chain
Accurate, reliable and timely results
Monitor quality indicators

## Slide 11: ESSENTIAL TESTING SITE QA ACTIVITIES
Monitoring quality indicators is discussed in Module PM6: How to Monitor and Evaluate your Programme and FM10: Monitoring Quality Indicators
Additional QA activities conducted at the testing site include:
  Make the testing site safe and functional (i.e. ensure appropriate management of biohazardous waste according to local guidelines)
  Test quality samples (i.e. ensure patients are instructed in good sputum collection techniques)
  Report accurate results (i.e. report results in a standard format, according to national guidelines)
  See Module TB8: Quality Assurance

## Slide 12: ESSENTIAL QA ACTIVITIES
QA activity | Central level activities | Testing site level activities
Standardize policies & documentation | Develop standardized policies and documents, and disseminate | Ensure standardized documentation and policies are up-to-date, accurate, readily accessible
Maintain & service equipment | Develop maintenance schedules Select authorised suppliers to conduct servicing | Perform equipment maintenance and servicing
Conduct training | Develop standardized training curricula Select and train cadre of trainers | Ensure staff are trained Select appropriate staff to attend trainings

## Slide 13: ESSENTIAL QA ACTIVITIES
QA activity | Central level activities | Testing site level activities
Coordinate on-site supervisory visits | Coordinate on-site supervisory visits Provide feedback to testing sites | Develop action plans & implement remedial actions
Implement proficiency testing (PT) | Enrol testing sites in PT programmes. Provide feedback Support sites investigate PT failures | Conduct PT Implement remedial actions for PT failures
Strengthen the supply chain | Select suppliers Forecast needs Develop supply chain | Maintain stock Report consumption data to central level

## Slide 14: PROGRAMME CONTINUOUS QUALITY IMPROVEMENT (CQI)
A QA programme is based on the principle that systems can always be improved. This is called CQI
Improvements are usually made by changing systems and processes in ways that enable them to achieve a better result.
We need to ask the following questions:
  What are we trying to achieve?
  What changes can we make that will lead to an improvement?
  How will we know we have made an improvement? (how can we measure it?)
Steps should be repeated over time to ensure continuous improvement

## Slide 15: PROGRAMME CQI
Find out how well you are doing and where you can improve
There is always room for improvement, even in well-functioning programmes

## Slide 16: DEVELOPING A QA PROGRAMME
PLAN
Assemble the team
Define roles and responsibilities
Conduct situational analysis
Plan the implementation
Define quality standards
Set the budget and timeline
MONITOR
Establish M&E framework
Assign responsibilities
Collect, compile and analyze data
Monitor remotely
Evaluate progress towards targets
Use data for decision-making and quality improvement
IMPLEMENT
Standardize policies & documentation
Maintain & service equipment
Conduct training
Coordinate on-site supervisory visits
Implement PT
Strengthen the supply chain

## Slide 17: PLAN QA ACTIVITIES
  Develop a QA programme at the central level. The following process is recommended:
    Assemble the team
    Define roles and responsibilities
    Conduct situational analysis
    Plan the implementation
    Define quality standards
    Set the budget and timeline

## Slide 18: PLAN QA ACTIVITIES
Assemble a team / Technical working group (TWG) on QA:
  MOH/NTP leadership and coordination, with engagement of all key stakeholders
  TWG may be TB specific or part of general laboratory TWG
    Should be aligned with general TWG if TB-specific group is established
  Identify a team lead (i.e. QA focal person)
  Team is responsible for advising on development, implementation and monitoring of TB QA strategies

## Slide 19: PLAN QA: ROLES & RESPONSIBILITIES
  Ensure quality TB diagnostic testing is the responsibility of:
    MOH
      National Laboratory Policy and guidelines
      Central Unit may be responsible for equipment, procurement, quality assurance (proficiency testing [PT] programme)
      Funding decisions (with Ministry of Finance)
      Training (with Ministry of Education)
Customise according to country context - National Laboratory policy, TB NSP etc

## Slide 20: PLAN QA: ROLES & RESPONSIBILITIES
  Ensure quality TB diagnostic testing is the responsibility of:
    NTP
      National TB strategic planning
      Funding for TB activities
      Supervision of sites for TB services (with NTRL for laboratory)
      M&E
Customise according to country context - National Laboratory policy, TB NSP etc

## Slide 21: PLAN QA: ROLES & RESPONSIBILITIES
NTRL
  Technical expertise for TB laboratory services
  Training for TB diagnostics
  On-site supervision for TB laboratories
  M&E of laboratory aspects

## Slide 22: PLAN QA: ROLES & RESPONSIBILITIES
Implementing partners
  Liaise with MOH/NTP and follow national guidelines
  Participate in TWG
  Provide technical assistance in line with NSP
  Support implementation of actions plans for quality improvement

## Slide 23: PLAN QA: SITUATIONAL ANALYSIS
  To conduct a situational analysis, collect data on the extent of implementation of QA activities using standardised checklists:
Central level | Testing site level
Policies & documentation Equipment maintenance & servicing Training On-site supervisory visits PT Supply chain management M&E | Safety & functionality Policies & documentation Equipment maintenance & servicing Training Supply chain management Sample quality PT Reporting M&E

## Slide 24: PLAN QA: SITUATIONAL ANALYSIS
Include a representative number of testing sites in different geographic areas, urban vs rural, different levels of health system (central, regional, district), special populations, and with different partner support
Select the personnel responsible for conducting the assessment (e.g. advanced users)
Assign a timeframe & complete logistics for conducting the situational analysis

## Slide 25: PLAN QA: SITUATIONAL ANALYSIS
  Plan the implementation
  Ensure the situational analysis report contains the gaps identified and recommendations at the central level and testing site level
  Develop an operational plan to implement recommendations of the situational analysis in a phased manner including timelines and responsibilities

## Slide 26: PLAN QA: QUALITY STANDARDS
  Define national quality standards
  Quality standards define minimum requirements to ensure the quality of testing
  Examples of quality standards include:
    Standardized curricula are used for trainings
    All testing sites participate in the PT programme
    All testing sites monitor defined quality indicators on a monthly basis
    Site supervision is conducted bi-annually using standardised checklists and includes timely feedback to the testing site

## Slide 27: PLAN QA: BUDGETING
  Set the budget and timeline
  Successful implementation of QA requires financial planning led by MOH/NTP, with support of implementing partners
  Develop a budget and include all costs required for QA including:
    Training, workshops etc.
    Equipment maintenance
    Distribution of PT panels
    On-site supervision, transport and per diems
  See PM7: Funding your programme

## Slide 28: IMPLEMENT QA: STANDARDIZE POLICIES & DOCUMENTATION
Without accurate and complete documentation, patient care will be compromised due to risk of false results, inability to report results due to lack of information, and delays
To implement this activity:
  Standardize documents, records and forms and distribute to all testing sites in order to ensure conformity
  Ensure that documents and records at central and testing site level are up-to-date, accurate, and readily accessible

## Slide 29: IMPLEMENT QA: STANDARDIZE POLICIES & DOCUMENTATION
The following are some key documents that should be standardized:
  National TB Diagnostic Algorithm
  Specimen request forms
  Sample registers
  Testing SOPs
  Maintenance logs
  Result reporting forms

## Slide 30: IMPLEMENT QA: MAINTAIN & SERVICE EQUIPMENT
Reliable equipment is needed to generate accurate and reliable results
All instruments should undergo verification before being declared “Fit for Use”
All instruments must undergo routine maintenance according to the manufacturer’s recommendations. Failure to do so may invalidate the warranty
Servicing and repair of instruments should be carried out by authorized providers
Maintenance & servicing information should be stored in the instruments “Book of Life”

## Slide 31: IMPLEMENT QA: MAINTAIN & SERVICE EQUIPMENT
To implement this activity:
  Develop a list of all equipment at the testing sites
  Develop a maintenance schedule for equipment
  Select authorized providers to service equipment based on defined criteria
  Estimate budget needs and timing

## Slide 32: IMPLEMENT QA: MAINTAIN & SERVICE EQUIPMENT
To implement this activity:
  Identify who from the testing site is responsible for communicating with authorized providers and the central level
  Establish communication procedures in case of equipment failure
  Monitor testing sites to ensure maintenance & servicing is performed as per schedule

## Slide 33: IMPLEMENT QA: CONDUCT TRAINING
Training is critical for all cadres of staff involved in diagnostic test implementation (testing site and clinical staff, supervisors, managers and regional coordinators)
Develop a cadre of trainers to conduct trainings
Trainers must use the approved national curricula, customize and use this training in your country (see Facilitators Guide for recommendations for customising this training)
Trainers should be assessed for competency as trainers as well as technical knowledge

## Slide 34: IMPLEMENT QA: CONDUCT TRAINING
To implement this activity:
  Select appropriate staff to attend trainings
  Only use trainers who have been certified as competent
  Keep a register of certified users, advanced users, trainers
  Define and document the criteria for competency. Only training participants who meet the criteria should be certified as competent
  Perform competency assessments after training, and periodically (i.e. annually) thereafter
  Retrain staff periodically according to pre-defined intervals

## Slide 35: IMPLEMENT QA: COORDINATE ON-SITE SUPERVISORY VISITS
On-site supervision is used to determine how well a site is performing and provide the opportunity for in-person mentoring and immediate remediation of urgent problems
On-site supervision is performed using standardized checklists to ensure consistency and completeness of information, and to enable monitoring of trends and follow-up on recommendations and corrective actions

## Slide 36: IMPLEMENT QA: COORDINATE ON-SITE SUPERVISORY VISITS
To implement this activity:
  Select and train cadre of assessors
  Schedule on-site supervisory visits- site visits should be planned at regular intervals
  If resources are limited, prioritize poorly performing sites (i.e. based on performance indicator monitoring or PT failure) for on-site supervisory visits
  Coordinate assessments of testing sites
  Integrate onsite supervisory visits with other supervision visits (i.e. quarterly NTP visits)

## Slide 37: IMPLEMENT QA: COORDINATE ON-SITE SUPERVISORY VISITS
Analyze data collected to inform decision making at central level
Provide feedback to testing sites after on-site supervision visits
See TB9: EQA

## Slide 38: IMPLEMENT QA: IMPLEMENT PT
PT entails sending a panel of biological materials with known results to testing sites for testing
The PT panel results from the testing site are compared to a reference result (and with other laboratory results for the same panel of samples) to determine inter-testing site comparability
Ensure testing sites are enrolled in PT programmes for all tests performed
  Blinded re-checking also used for smear microscopy

## Slide 39: IMPLEMENT QA: IMPLEMENT PT
PT must not replace the routine monitoring of quality indicators
Currently, PT panels are available commercially, from CDC or Supranational Reference Laboratories, or a country may prepare its own PT panels

## Slide 40: IMPLEMENT QA: IMPLEMENT PT
To implement this activity:
  Communicate PT requirements and guidelines for testing and reporting to the testing sites
  Provide feedback to testing sites in a timely manner including corrective actions if there have been PT failures
  Guide the testing sites in the procedures to investigate PT failures (i.e. performing root-cause analysis)
  PT failures should be followed up with onsite supervision visits

## Slide 41: IMPLEMENT QA: STRENGTHEN THE SUPPLY CHAIN
The quality of testing services depends on the uninterrupted availability of reagents at the testing sites
To implement this activity:
  Forecast reagent needs based on testing site consumption data
  Ensure sufficient budget for procuring reagents
  Select suppliers based on defined criteria
  Ensure integrity of reagents during distribution to testing sites
  Ensure quality of supplies received prior to distribution to testing sites (i.e. new lot testing)

## Slide 42: MONITOR QA
National (MOH/NTP/NTRL), districts & facilities collect and analyze a standardized set of performance indicators periodically
Performance indicators are monitored for trends and against their targets
Since indicators are linked, data collected at the facility and district level are passed up to the national level and used to inform indicators that are reported globally

## Slide 43: MONITOR QA
Any unexplained change(s) in performance indicators or failure to meet the targets are documented and investigated
The national level collates data and provides feedback to the districts and facilities on their performance, and performance of the programme more generally
See PM6: How to Monitor and Evaluate your Programme

## Slide 44: MONITOR QA
Monitoring and evaluation is essential to track progress with implementation
Establish suitable process indicators based on actions identified during the situational analysis
For example:
Action item | Performance indicator
Develop clinician training this year Train three master trainers this year | How many approved training curricula were developed in the last 12 months? How many certified master trainers were trained in the last 12 months?

## Slide 45: MONITOR QA
Monitor indicators and compare to the quality standards:
QA activity | Quality standard example | Performance indicator examples
Standardize policies & documentation | All testing sites use standardized documents, records and forms for sample request and results recording and reporting | What proportion of testing sites use standardized documentation? How many testing sites have an up-to date TB diagnostic algorithm?
Maintain & service equipment | All instruments undergo routine maintenance and calibration according to the manufacturer’s recommendation | What proportion of testing sites performed routine maintenance according to the manufacturer’s recommendation?

## Slide 46: MONITOR QA
Monitor indicators and compare to the quality standards:
QA activity | Quality standard example | Performance indicator examples
Conduct training | Standardized curricula are adopted for trainings Training is conducted by certified trainers | How many trainings were conducted using the standardized curricula? How many trainings were conducted by certified trainers in the last 12 months?

## Slide 47: MONITOR QA
QA activity | Quality standard example | Performance indicator examples
Coordinate on-site supervisory visits | Each testing site receives on-site supervisory visits regularly according to a pre-defined schedule, conducted by competent personnel | How many testing sites received at least one on-site supervisory visit in the last 12 months?
Implement PT | Each testing site is enrolled (registered) in a PT programme All testing sites demonstrated proficiency in the last PT round | How many testing sites are enrolled in PT? How many testing sites had a PT failure in the last round?
Strengthen the supply chain | A system is in place to ensure uninterrupted supply of Xpert MTB/RIF / Xpert Ultra supplies and reagents | How many testing sites reported no interruption to services due to stock-outs in the last quarter?

## Slide 48: DISCUSSION QUESTIONS
Give three reasons why quality diagnostic results are important?
List six activities for developing a QA programme?
List five activities that should be conducted when implementing the following at the central level:
  Equipment maintenance & servicing
  Training
  Supply chain management

## Slide 49: KEY MESSAGES
Implementing QA for diagnostic testing aims to ensure that the right test results are provided for the right patient, at the right time
A situational analysis should be conducted to establish the current status of QA activities, to identify gaps and used to develop an action plan for phased implementation of QA

## Slide 50: KEY MESSAGES
  The QA activities that should be implemented at central level to ensure quality diagnostic testing include:
  Standardize policies & documentation
  Maintain & service equipment
  Conduct training
  Coordinate on-site supervisory visits
  Implement PT
  Strengthen the supply chain
  Routine monitoring of appropriate performance indicators is essential to inform decision-making

## Slide 51: EXERCISE: QA ACTIVITIES
Purpose
To identify current practises and gaps and propose activities and challenges to implement QA activities
Total time
70 minutes – about 30 minutes discussion in small groups, 20 minutes to report back to the large group, 20 minutes group discussions
Process
Work in groups of three
On the worksheet provided, for each QA component, list the QA activities that are currently being conducted in your country:
What are the gaps in implementing these activities in your country?
Recommend activities to fill these gaps, and suggest what challenges may be encountered?
Who would you need to engage to address implementation of the QA activities in your country?
Share your findings with the group

## Slide 52: EXERCISE: DEBRIEF
Do you think some QA components are easier to implement than others? Give examples?
What would be the next steps to implementation of the QA activities discussed in this module?
  Can you suggest mechanisms to involve stakeholders in the process?

## Slide 53
THANK YOU
© John Rae