## Slide 1
PROGRAMME MODULE 5 (PM5)
HOW TO PLAN AND IMPLEMENT CONNECTIVITY SOLUTIONS

## Slide 2: MODULE CONTENTS
What are diagnostics connectivity solutions?
How can diagnostics connectivity solutions be of use to your TB programme?
What connectivity software is needed?
What hardware is needed / SIM cards and data plans?
Hosting options
Data ownership and security
Personnel needs
Budgeting
Integration
© Sam Nuttall

## Slide 3: LEARNING OBJECTIVES
By the end of this module you will be able to:
List the three components of a diagnostic connectivity solution
Describe how diagnostic connectivity solutions can benefit TB programmes
List hardware and software needs
Outline important variables to be included in a Data Use agreement with a software provider
List budget considerations to set-up and run diagnostic connectivity solutions
Describe integration as it relates to connectivity solutions

## Slide 4: GLI GUIDE ON TB DIAGNOSTIC CONNECTIVITY
This training module is based on guidance provided in the GLI Quick guide to TB diagnostics connectivity solutions. The guide provides recommendations for selecting and implementing diagnostic connectivity solutions for TB
  http://stoptb.org/wg/gli/assets/documents/gli_connectivity_guide.pdf

## Slide 5: WHAT ARE DIAGNOSTICS CONNECTIVITY SOLUTIONS?
Traditional TB diagnostics methods require that a test result and associated patient details be manually written on paper, recorded in a register, and sent to the ordering clinician
Paper-based record keeping and information sharing is time consuming and prone to transcription errors
Newer diagnostics produce results data in digital format (also known as electronic data)
Unlike written data on paper, electronic data can be rapidly and accurately sent simultaneously to different recipients according to their needs, and can be easily analysed

## Slide 6: WHAT ARE DIAGNOSTICS CONNECTIVITY SOLUTIONS?
Server
A connectable diagnostic device that produces electronic data
A software platform that receives and interprets data
A means to transmit data from the device to the software platform and to a server
Diagnostics connectivity solutions typically comprise:
Connectivity solutions facilitate the automatic transmission of electronic data for a variety of uses

## Slide 7: HOW CAN CONNECTIVITY SOLUTIONS BE OF USE TO A TB PROGRAMME?
Remote monitoring and quality assurance
  Designated persons can use any internet-enabled computer to access the software platform and access information on facilities, devices, commodities. However; remote monitoring should not replace on-site supervision visits
  For example: the head of a national reference laboratory can easily see how many tests are being performed and where, the results, and which sites are under-performing or experiencing abnormal results or errors. Device failures (e.g. module failure) can be detected

## Slide 8: HOW CAN CONNECTIVITY SOLUTIONS BE OF USE TO A TB PROGRAMME?
Sending results automatically to clinicians
  Test results can automatically and instantly be sent to a clinician’s phone or email, or SMS printer at the health centre, enabling faster patient follow-up
  A text message could also be sent to a patient, informing them when their test results are ready and instructing them to visit the health facility to receive them

## Slide 9: HOW CAN CONNECTIVITY SOLUTIONS BE OF USE TO A TB PROGRAMME?
Sending results automatically to laboratory information management systems (LIMS) or electronic registers
  Test results can be automatically integrated into LIMS or electronic registers, reducing staff time and the chance of transcription errors, and greatly facilitating monitoring and evaluation (M&E) processes

## Slide 10: HOW CAN CONNECTIVITY SOLUTIONS BE OF USE TO A TB PROGRAMME?
Inventory management
  Some software platforms allow stock amounts to be entered at the site-level, for forecasting, potential stock-outs or expiring cartridges
  Tracking of lot numbers can identify poor performance and abnormal error rates for quality assurance purposes
  Status of warranties and calibration checks can be tracked

## Slide 11: HOW CAN CONNECTIVITY SOLUTIONS BE OF USE TO A TB PROGRAMME?
Surveillance
  Real-time data and trends on disease or resistance patterns can be easily discerned using data from the network of devices
Data access
  Data can be available to different cadres of staff
  Information can also be shared securely with partner organisations and manufacturers for support and product improvement purposes (access determined by MOH)

## Slide 12: WHAT SOFTWARE IS NEEDED?
Connectivity software platforms are developed by diagnostics manufacturers or third-party companies
The selection of software depends on the needs and preferences of the Ministry of Health and may depend on:
  functionalities of different systems
  range of devices or languages supported
  experience and capacity of the provider and implementing partners
  data security measures and/or hosting arrangements in place
  network coverage
  needs of the country

## Slide 13: WHAT SOFTWARE IS NEEDED?
Software may have complementary functionalities, justifying the use of more than one system

## Slide 14: WHAT HARDWARE IS NEEDED?
Server
  In-country or 3rd party (cloud-based)
  Refer to “Hosting options” in slide 15
Modem
  Standalone desktop modems (also known as smart routers) are generally the best quality option but are more expensive
  External antennas may provide stronger connection
  USB internet dongles may be an option, but they carry the risk of being removed, misplaced and misused.

## Slide 15: INTERNET CONNECTIVITY: SIM CARDS AND DATA PLANS
In order for the modem to access the cellular network (2G/3G/4G) it will need a SIM card with an active data plan
Data plans come in two variants
  Pre-paid: top-up process is cumbersome
  Post-paid: preferred option, but requires a contract to be in place

## Slide 16: HOSTING OPTIONS
There are two options for hosting the data collected:
  Direct hosting using an in-country server
    Requires adequate infrastructure, financial resources, and IT personnel to configure and maintain the server
  3rd party hosting (also known as: virtual or cloud-based servers)
    Highly secure, provide redundancy against data loss, are quickly scalable and are a good option when a country does not have the IT capacity to properly configure and maintain an in-country server
    Generally a cheaper option

## Slide 17: DATA OWNERSHIP AND SECURITY
Access to data needs to be regulated through a Data Use Agreement
A Data Use Agreement signed by the MOH and the software provider should describe:
  Ownership of all data by the MOH
  MOH power to share access with selected parties
  Planned storage and security of data, and any planned use of the data by the software provider
  Assurance that patient data remains confidential and not disclosed to unauthorised users or used by the software provider outside of the terms of the agreement
  Other requirements that are specified in national policies

## Slide 18: PERSONNEL NEEDS
Installation and set-up:
  A diagnostics connectivity solution provider should be engaged to configure and customise software, and provide project management and consultancy services to ensure proper roll-out
  IT/network support: Server configuration; establish connectivity at sites
  Trainings: data collection, data use and management; installation of connectivity solution

## Slide 19: PERSONNEL NEEDS
Operational phase- allocation of certain staff with designated mandates and responsibilities is required post set-up of the connectivity solution:
  National, regional and local level data monitoring
  Thresholds should be established related to error levels, underutilisation of tests, under/oversupply of stock, and identified sites should be followed up according to an SOP
  IT/network support: Server maintenance; troubleshoot connectivity issues
  Data connectivity administration: ensuring data invoices are paid or SIM cards topped up
  Training

## Slide 20: BUDGETING
The costs required to set-up and run a connectivity solution are highly country dependent
Procuring a remote monitoring system may be subject to tender process. This can be for the system, components of the system (e.g. data), or supportive services
There are a number of common budget items for each of the three phases:
  Preparation phase
  Set-up/installation phase
  Operational phase

## Slide 21: BUDGETING
Preparation phase
  Landscape assessment: In-country assessment of existing systems and infrastructure (both laboratory and connectivity) by a diagnostics connectivity solutions provider, and sensitisation of stakeholders.

## Slide 22: BUDGETING
Set-up/installation phase
  Hardware and equipment: Smart routers/modems, server, Wi-Fi dongles, antennas, SIM cards
  Configuration and customisation of connectivity solution
  Implementation workshops/trainings
  Installation and roll-out of connectivity solution: On-site installation of modems/routers and set-up of connectivity solution, including in-country travel costs
  Diagnostics connectivity solutions provider: Project management and consultancy to ensure proper roll-out

## Slide 23: BUDGETING
Operational phase
  Running costs for connectivity: Monthly mobile data costs, server hosting, license costs for connectivity software (if any), and ancillary services
  Remote or in-country technical support: Technical support from the implementing software service provider
  In-country human resources: Data monitoring and supervision, IT/network support, administrative support, and programmatic support for follow-up trainings and capacity building to ensure programmatic impact

## Slide 24: INTEGRATION
Some instrument-based diagnostics for HIV and other diseases are also able to produce electronic data
Some diagnostic connectivity solutions are able to collect and use data generated by different types of devices, which can improve linkage to care and patient management
Collaborative management and financing of a diagnostic connectivity solution across disease programmes and their technical partners can help ensure proper functioning of the system and its sustainability

## Slide 25: OTHER RESOURCES
GLI quick guide to diagnostics connectivity solutions
  Available at: http://stoptb.org/wg/gli/assets/documents/gli_connectivity_guide.pdf
  Includes a comparison of functionalities of currently available diagnostics connectivity software for GeneXpert:
    Cepheid’s proprietary C360 software
    GxAlert/Aspect software by SystemOne
    Connected Diagnostics Platform software by FIND
    DataToCare software by Savics

## Slide 26: EXERCISE: FUNCTIONALITY OF A DATA CONNECTIVITY SOLUTION
Purpose
To consider which functionalities of data connectivity solutions would be most useful; and to become familiar with online data connectivity solution comparison
Total time
40 minutes – about 15 minutes preparation, 15 minutes discussion in small groups, 10 minutes to report back to the large group
Process
Break into 2 or more groups
Each group ranks from 1 to 4 the top functionalities they would want from a diagnostics connectivity solution in their country
Using the online comparison of functionalities of currently available connectivity software, each group selects the software(s) that would be the best fit for their needs
Reconvene in the larger group for a facilitated discussion

## Slide 27: DISCUSSION QUESTIONS
What are three components of a diagnostic connectivity solution?
What are advantages of electronic data over paper-based data?
How can diagnostic connectivity solutions benefit TB programmes?
What should be included in a Data Use agreement with a software provider?
What are budgeting requirements during the preparation, set-up/installation and operational phases of a connectivity system?

## Slide 28: KEY MESSAGES
Connectivity solutions facilitate the automatic transmission of electronic data for a variety of important uses
Planning for a connectivity solution requires selecting the most appropriate software(s), procurement of hardware and setting up a server and internet connectivity, assigning proper data ownership, and ensuring needed personnel for all phases
Careful budgeting of each of the phases is required, and integration across disease programmes can help ensure maximum utility and sustainability of a connectivity solution

## Slide 29
THANK YOU
© John Rae