## Slide 1
PROGRAMME MODULE 8 (PM8)
PLAN AN INTEGRATED
DIAGNOSTIC APPROACH

## Slide 2: MODULE CONTENTS
What is a multi-disease integrated diagnostic approach?
What are the benefits of a multi-disease integrated diagnostic approach?
Ten key considerations for planning and implementing an integrated approach
© John Rae

## Slide 3: LEARNING OBJECTIVES
Define a multi-disease integrated diagnostic approach
List the benefits of adopting a multi-disease integrated diagnostic approach
Provide examples of an integrated diagnostic approach
Understand and be able to apply ten key considerations for planning and implementing an integrated approach

## Slide 4: WHAT IS AN INTEGRATED DIAGNOSTIC APPROACH?
A multi-disease integrated diagnostic approach is the use of a single platform for testing for different clinical conditions using disease-specific tests
For example:
  The GeneXpert instrument can be used to detect TB and determine rifampicin resistance (Xpert MTB/RIF assay), as well as for early infant diagnosis of HIV. Tests to quantitatively measure HIV and hepatitis C viral load are also under WHO evaluation for potential endorsement

## Slide 5: MULTI-DISEASE TESTING DEVICES IN INTEGRATED LABORATORY NETWORKS
This training module is based on guidance provided in the WHO Global TB Programme and HIV Department information note: Considerations for adoption and use of multi-disease testing devices in integrated laboratory networks
http://www.who.int/publications/guidelines/tuberculosis/en/

## Slide 6: WHY AN INTEGRATED DIAGNOSTIC APPROACH?
Multi-disease testing devices (polyvalent testing platforms or multi-analyte analysers) enable:
  Collaboration and integration between programmes
  Significant system efficiencies and cost savings
  Increased patient access
  Improved quality of care
  Collaboration and integration should be a priority for both those countries with currently operational multi-disease testing devices and those countries considering and planning for their introduction

## Slide 7: TEN KEY CONSIDERATIONS FOR A MULTI- DISEASE INTEGRATED DIAGNOSTIC APPROACH
Coordinated planning led by the Ministry of Health (MOH) | Ensuring capacity for supervision, monitoring and conducting trainings
Regulatory approval and validation | Clinician training and demand generation
Product and site selection | Inventory management & procurement
Integrated specimen referral systems | Quality management systems (QMS)
Standard operating procedures (SOP) and trainings for end-users | Data management and integration

## Slide 8: 1. COORDINATED PLANNING LED BY THE MOH
Essential to the adoption and use of multi-disease testing devices is a country-led coordinated process to:
  Develop a strategic plan for multi-disease testing
  Map testing sites to understand location, instrument capacity and current workload of instruments
  Build integrated specimen referral networks

## Slide 9: 1. COORDINATED PLANNING LED BY THE MOH
To do this, countries should:
  Establish an internal coordinating mechanism (such as technical working group (TWG)) with representation from all relevant disease programmes to support integrated planning and implementation
  Identify funding streams and seek synergies across disease-specific funding to ensure complete implementation of plans and continuous service delivery

## Slide 10: 2. REGULATORY APPROVAL AND VALIDATION
Regulatory approval requirements for diagnostic devices and assays vary by country
Opportunities for streamlining regulatory approval processes should be considered, including:
  An abbreviated regulatory process may be possible for new tests to be introduced which run on an already approved diagnostic device (or vice versa: an already-approved test to be validated on a new device)
  Coordinate in-country validation among relevant disease programmes to avoid parallel efforts and reduce cost and delay in introduction of new tests

## Slide 11: 3. PRODUCT AND SITE SELECTION
Selection of devices and sites for deployment/integration at existing testing sites should be lead by MOH with representation from all relevant disease programmes and stakeholders
Countries should employ a data-driven approach to understand needs of all disease programmes and establish a cost-efficient plan to achieve service delivery needs

## Slide 12: 3. PRODUCT AND SITE SELECTION
To do this, countries should:
Map all testing sites for potential device placement in the country based on target patient populations across diseases and testing volume needs for all tests
Mapping should account for expected device capacity (i.e., number of tests per day or per shift), and existing device deployment
Assess unused capacity of existing devices and potential for integration before procuring additional devices

## Slide 13: 3. PRODUCT AND SITE SELECTION
Consider the following when selecting sites for placement of multi-disease testing devices:
Infrastructure needs (space, electricity, temperature, etc.)
Specimen referral systems
Patient access to treatment for each disease being tested
Equipment, cartridge or reagent disposal requirements
Biosafety requirements for handling of specimens for all planned test types
Maintenance requirements
Human resource requirements

## Slide 14: 4. INTEGRATED SPECIMEN REFERRAL SYSTEMS
Establish integrated specimen referral systems for all specimens using multi-disease testing devices.
  e.g. developing integrated system from the start, or adding new specimens to an existing single-disease referral system
Specific requirements may be needed for certain specimens, e.g. biosafety considerations for specimens for TB or Ebola testing
Understand the timing and demand for testing of various disease programmes (e.g. TB and HIV clinic operating hours, specific clinic days, outreach events etc.)
Plan specimen collection and transport so as not to overwhelm testing sites or transportation system

## Slide 15: 5. STANDARD OPERATING PROCEDURES AND TRAININGS FOR END-USERS
Engage laboratory staff and clinicians from all relevant disease programmes in the consultative process for the development of the SOPs
Ensure that the SOPs address instances of potential capacity shortfall at the testing site e.g. which priority specimens would be tested first, while remaining specimens would be referred to another site or temporarily stored until testing capacity is available
Train all persons currently performing disease-specific tests on multi-disease testing devices across all test types used in the setting

## Slide 16: 5. STANDARD OPERATING PROCEDURES AND TRAININGS FOR END-USERS
All end users should be trained in:
  Specimen collection and handling (including biosafety precautions)
  Patient management and test counselling (e.g. HIV viral load)
  Test procedures
  Following national testing algorithms
  Interpretation and reporting of results

## Slide 17: 5. STANDARD OPERATING PROCEDURES AND TRAININGS FOR END-USERS
All end users should be trained in:
  Servicing and maintenance of the instrument
  Quality assurance
  Waste disposal specific to each assay’s reagents and cartridges
Assess competency (proficiency) of end-users at the end of training and regularly thereafter (e.g. annually)

## Slide 18: 6. ENSURING CAPACITY FOR SUPERVISION, MONITORING AND CONDUCTING TRAININGS
Establish an integrated approach to quality assurance, including routine monitoring and supervision of facilities across the different test types to maximize efficiency and harmonise support, and alignment of shipment of proficiency test panels
Select individuals at national and regional levels to perform supervision and monitoring of testing sites using multi-disease testing devices
Advanced trainings on supervision, monitoring and conducting trainings may be required
The roles and responsibilities of selected individuals should be clearly defined across the programmes

## Slide 19: 7. CLINICIAN TRAINING AND DEMAND GENERATION
Train clinicians and primary care providers on:
  All types of tests available
  Utility of each test in clinical management of patients
  National testing algorithms for each disease
  Procedures for requesting the tests
  Interpretation of results for all types of tests
Develop materials for sensitization of clinicians and primary care providers collaboratively across disease programmes and with clinician and primary care provider input

## Slide 20: 8. INVENTORY MANAGEMENT & PROCUREMENT
Integrate forecasting of orders to account for all test types across disease programmes
Integrating forecasting and procurement allows for:
  Cost savings from increased volumes and price negotiation with manufacturers
  Savings on shipping, storage and transport of reagents
  Integrated systems to monitor stocks and expiry dates of reagents
  Ability to track consumption and wastage
Ensure adequate storage space is available at facilities and plan frequency of ordering and delivery of test kits accordingly

## Slide 21: 9. QUALITY MANAGEMENT SYSTEMS (QMS)
Integrate QMS for multi-disease testing devices to ensure more cost-efficient and effective implementation
The QMS should include:
  Regular on-site supervision
  Quality indicator monitoring
  Calibration, servicing and maintenance
  Internal quality controls, external quality assessment (EQA) and post-market surveillance (if appropriate)
  While there are test-specific requirements for each of these elements (e.g. test-specific indicators and EQA), planning and implementation should be integrated wherever possible

## Slide 22: 9. QMS
Coordinate service and maintenance requirements for multi-disease devices across disease programmes, including:
Define roles, responsibilities and timelines for service and maintenance across disease programmes
Consider the volume of testing performed across all diseases when scheduling service and maintenance
Negotiate costs with the manufacturer in a way that creates efficiencies across programmes (e.g. coordinate service provider site visits for maintenance to all testing sites in a particular region)
Ensure service and maintenance is well documented and monitored for each device

## Slide 23: 10. DATA MANAGEMENT AND INTEGRATION
Install diagnostic connectivity software that is able to accept and use data from all test types from a multi-disease testing device
Connect the device with the laboratory information management systems (LIMS) and electronic registers to allow for automatic integration of data
Configuration should allow selected users across disease programmes to have access to relevant data
Define patient confidentiality rights and data use standards across the programmes
Negotiate data use agreements across programmes for multi-disease testing devices

## Slide 24: EXERCISE: PLAN AN INTEGRATED DIAGNOSTIC APPROACH
Purpose
To plan an integrated multi-disease testing device laboratory network
Total time
60 minutes – about 30 minutes discussion in small groups, 10 minutes to report back to the large group, 20 minutes group discussion
Process
Divide into 4 groups. Discuss and document the following:
  What opportunities exist for establishing a multi-disease testing device laboratory network in your country?
  What are the key concerns for collaborations between different programmes? How may these be addressed?
  What challenges to collaboration exist, and how may these be overcome?
Share your findings with the group

## Slide 25: DISCUSSION QUESTIONS
What is an integrated diagnostic approach?
Give one example of an integrated diagnostic approach?
List three considerations for selecting and placing multi-disease testing devices?
List five key competencies for users of multi-disease testing devices?
Give two benefits of integrating forecasting and procurement for multi-disease testing devices?

## Slide 26: KEY MESSAGES
An integrated diagnostic approach is the testing for different clinical conditions using disease-specific tests on the same platform
Multi-disease testing devices can provide significant system efficiencies and cost savings, increase patient access and improve quality of care

## Slide 27: KEY MESSAGES
Ten key considerations for a multi-disease integrated diagnostic approach include:
Coordinated planning led by the Ministry of Health (MOH) | Ensuring capacity for supervision, monitoring and conducting trainings
Regulatory approval and validation | Clinician training and demand generation
Product and site selection | Inventory management & procurement
Integrated specimen referral systems | Quality management systems (QMS)
Standard operating procedures (SOP) and trainings for end-users | Data management and integration

## Slide 28
THANK YOU
© John Rae