| Date: |  |  |  |
| --- | --- | --- | --- |
| - SPECIMEN PREPARATION ROOM, TB LABORATORY |  | Check | Comment |
| 1 | Latex free disposable gloves (Small, Medium, Large) |  |  |
| 2 | Surgical gown |  |  |
| 3 | N95 respirator |  |  |
| 4 | Hair cover |  |  |
| 5 | Adjustable Heating block (must heat up to at least 105°C) |  |  |
| 6 | Micro centrifuge (1,5ml tubes) |  |  |
| 7 | 1,5ml Screw cap tubes |  |  |
| 8 | Racks for 1,5ml Screw cap tubes |  |  |
| 9 | Adjustable pipettes 20µl |  |  |
| 10 | Adjustable pipettes 200µl, |  |  |
| 11 | Adjustable pipettes 1000µl |  |  |
| 12 | Pipette stand |  |  |
| 13 | Tips with filters for above mentioned pipettes |  |  |
| 14 | Discard container with plastic bag and 1% freshly prepared sodium hypochlorite |  |  |
| 15 | Dispenser for paper towels and paper towels |  |  |
| 16 | Medical waste box for contaminated material |  |  |
| 17 | Wash bottle for 1% freshly prepared sodium hypochlorite |  |  |
| 18 | Wash bottle for 70% alcohol |  |  |
| 19 | Thermometer |  |  |
| 20 | Timer |  |  |
| 21 | Marker |  |  |
| 22 | Small Kim wipes |  |  |
| 23 | PCR tube caps (if 8-vial strips are used) |  |  |
| 24 | Vortex |  |  |
| 25 | Positive control |  |  |
| 26 | Specimens |  |  |

| Date: |  |  |  |
| --- | --- | --- | --- |
| - REAGENT PREPARATION ROOM, MASTER MIX ROOM |  | Check | Comment |
| 1 | Dedicated Laboratory Coats + hooks to hang the coats on |  |  |
| 2 | Latex free disposable gloves (Small, Medium, Large) |  |  |
| 3 | PCR Hood (Optional) |  |  |
| 4 | Adjustable pipette 10µl |  |  |
| 5 | Adjustable pipette 20µl |  |  |
| 6 | Adjustable pipette 200µl |  |  |
| 7 | Adjustable pipettes 1000µl |  |  |
| 8 | Pipette stand |  |  |
| 9 | Tips with filters for above mentioned pipettes |  |  |
| 10 | PCR tubes - 200µl |  |  |
| 11 | Caps for PCR tubes (if 8-vial strips are used) |  |  |
| 12 | Racks for PCR tubes 200µl |  |  |
| 13 | 1,5ml Screw cap tubes |  |  |
| 14 | Racks for 1,5ml Screw cap tubes |  |  |
| 15 | Dispenser for paper towels and paper towels |  |  |
| 16 | Vortex |  |  |
| 17 | Markers |  |  |
| 18 | Discard container with plastic bag and 1% freshly prepared for sodium hypochlorite |  |  |
| 19 | Medical waste box for contaminated material |  |  |
| 20 | Wash bottle for 1% freshly prepared sodium hypochlorite |  |  |
| 21 | Wash bottle for 70% alcohol |  |  |
| 22 | Glass beaker |  |  |
| 23 | Aluminum foil |  |  |
| 24 | Small Kim wipes |  |  |
| 25 | Mini-spin centrifuge |  |  |
| 26 | Master mix reagents (AM-A, AM-B) in benchtop cooler |  |  |

| Date: |  |  |  |
| --- | --- | --- | --- |
| - AMPLIFICATION AND DETECTION ROOM |  | Check | Comment |
| 1 | Latex free disposable gloves (Small, Medium, Large) |  |  |
| 2 | Dedicated Laboratory Coats + hooks to hang the coats on |  |  |
| 3 | GTBlot 48 (Automated)/ TwinCubator (Manual) |  |  |
| 4 | Thermal Cycler with heated lid, ramping rate 2.2°C/s |  |  |
| 5 | PCR tube rack (area dedicated!) |  |  |
| 6 | Adjustable pipette 20µl |  |  |
| 7 | Adjustable pipette 200µl |  |  |
| 8 | Adjustable pipettes 1000µl |  |  |
| 9 | Pipette stand |  |  |
| 10 | Tips with filters for above mentioned pipette |  |  |
| 11 | Eppendorf repeat pipette |  |  |
| 12 | 1 mL plastic transfer pipettes (non-sterile) |  |  |
| 13 | Individually wrapped combitips (25 mL) |  |  |
| 14 | Discard container with plastic bag and 1% freshly prepared for sodium hypochlorite |  |  |
| 15 | Medical waste box for contaminated material |  |  |
| 16 | Dispenser for paper towels and paper towels |  |  |
| 17 | Wash bottle for 1% freshly prepared sodium hypochlorite |  |  |
| 18 | Wash bottle for 70% alcohol |  |  |
| 19 | Tweezers/Forceps CLEAN! |  |  |
| 20 | Absorbent papers |  |  |
| 21 | Cello tape/Clear sticky tape |  |  |
| 22 | Pair of Scissors |  |  |
| 23 | Waste bucket 20 liter (for GT-Blot only) |  |  |
| 24 | Aluminum foil |  |  |
| 25 | Markers |  |  |
| 26 | Small Kim wipes |  |  |
| 27 | Timer |  |  |
| 28 | Sterile 50 mL Falcon tubes and rack |  |  |
| 29 | Sterile 15 mL Falcon tubes and rack |  |  |
| 30 | Clean tray for strips |  |  |
| 31 | Vortex |  |  |
| 32 | GenoType MTBDRplus VER 2.0 detection kit |  |  |